Note to users: items shown in red indicated edits / selections that need to be made to tailor the specification for the application.

Molded PTFE Flex Connector

Product Specifications

- Provide molded PTFE flex connectors as indicated on the contract drawings or as needed to compensate for thermal expansion or to eliminate the transmission of vibration and noise through the piping system.

- Products:

  - Two convolution molded PTFE flex connector shall be T1R® as manufactured by the Metraflex Co. Chicago, IL.

  - Three convolution molded PTFE flex connector shall be T2R® as manufactured by the Metraflex Co. Chicago, IL..

  - Molded PTFE shall be made from T-62 PTFE.

  - Flanges shall be one-piece, free-floating, 150 lb. drilling ductile iron with built in gusset plates with control rods,

- Execution.

  - PTFE joints shall be installed per manufacturer’s instructions and in accordance to Rubber joints FSA's "Technical Handbook: Non-Metallic Expansion Joints and Flexible Pipe Connectors."

  - When used as expansion joints, spherical rubber joints shall be anchored and guided in accordance with EJMA recommendations.

  - Refer to catalog data for PTFE joint movement capabilities.